## Manual Calculations
1 | Leukopak Processing Worksheet: | 1
A | B | C | D | E
3 | Laboratory Name: | 3
4 | LDMS Number: | 4
5 | Protocol | 5
6 | Participant ID (PID) | 6
7 | Visit | 7
8 | Collection Date | 8
9 | Collection Time | 9
| Processing Date | 10
10 | Processing Start Time | 11
11 | Participating Technologists | 12
12 | Freeze Time | 13
13 | LPK Volume | 14
14 | LPK Condition | 15
15 | Cell Count #1 | 16 |  |  | *Our lab does 4 cell counts per LPK
16 | Cell Count #2 | 17
17 | Cell Count #3 | 18
18 | Cell Count #4 | 19
19 | Average Cell Count | 20 |  | (D16+D17+D18+D19)/4
20 | Viability | 21
21 | Viable Cell count | 22 | 0 | #VALUE!
22 | Dilution Factor | 23 |  |  | *Our Standard Dilution Factor is 50
23 | Cell count per mL of diluted cells | 24 |  | (D19*D22)
24 | Total Volume of Diluted cells | 25 |  |  | *Our Standard Counting Volume is 200 mL
25 | Total Cell Count for LPK | 26 |  | (D23*D24)
26 | Total Number of Aliquots* | 27 |  |  | *We use extra aliquots for internal QC, need at least 1 extra per batch for pipetting error
27 | Total volume per aliquot | 28 | 50000000 | 50000000 | *This is the new standard requirement - may need to modify if leukopak collection is short
28 | Total Number of Cells Needed | 29 |  | (D26*D27)
29 | Number of Batches | 30 |  |  | *Don't recommend using fewer than 4 batches due to the volume of cells.
30 | Number of cryovials per Batch | 31 |  | (D26/D29)
31 | Number of cells per Batch | 32 |  | (D28/D29)
32 | Volume (mL) of Cells Per Batch | 33 |  | (D31/D23)
33 | CPS Volume per Batch | 34 |  | D30
34 | Number of cryovials per Batch | 35 |  |  | *The number of vials is the desired total divided by the batch (e.g. 96/4=24 per batch)
*e.g. 81 aliquots for storage + 4 aliquots for IQA + 4 aliquots internal QC + 4 aliquots for pipetting error

## Electronic Calculations
Leukopak Processing Worksheet:
Laboratory Name:
LDMS Number:
Protocol
Participant ID (PID)
Visit
Collection Date:
Collection Time:
Processing Date:
Processing Start Time:
Participating Technologists:
Freeze Time
LPK Volume
LPK Condition
Cell Count #1 |  | Our lab does 4 cell counts per LPK
Cell Count #2
Cell Count #3
Cell Count #4
Average Cell Count | #DIV/0!
Viability
Viable Cell count | #DIV/0!
Dilution Factor |  | Our Standard Dilution Factor is 50
Cell count per mL of diluted cells | #DIV/0!
Total Volume of Diluted cells |  | Our Standard Counting Volume is 200 mL
Total Cell Count for LPK | #DIV/0!
Total Number of Aliquots* |  | We use extra aliquots for internal QC, need at least 1 extra per batch for pipetting error
Total volume per aliquot | 50000000 | This is the new standard requirement
Total Number of Cells Needed | 0
Number of Batches |  | This will change by lab - could be 2-4
Number of cryovials per Batch | #DIV/0!
Number of cells per Batch | #DIV/0!
Volume (mL) of Cells Per Batch | #DIV/0!
CPS Volume per Batch | #DIV/0!
Number of cryovials per Batch |  | The number of vials is the desired total divided by the batch (e.g. 90/3=30 per batch)
*e.g. 81 aliquots for storage + 4 aliquots for IQA + 4 aliquots internal QC + 4 aliquots for pipetting error