| SOP #: | [0.0] |  |  | Place DO NOT COPY label here. |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Version: | 1.0 |  |  |  |  |  |
| Author(s): | [Name], [Title] [Name], [Title] |  |  |  |  |  |
| Approval: | Approved By |  |  |  |  | Date |
|  | [Name], Principal Investigator |  |  |  |  |  |
|  | [Insert name and title, if applicable] |  |  |  |  |  |
| Revision History: | Version 1.0 | Effective Date [dd-MMM-yy] | Description First Approval |  |  |  |
| Purpose This document describes how the [site name] CRS deals with power failure and natural disasters. |  |  |  |  |  |  |
| References - [insert site name] CRS DAIDS Pharmacy Establishment Plan - Power Failure Log |  |  |  |  |  |  |
| Scope This SOP applies to the following [site name] CRS staff: [insert titles of appropriate staff members] |  |  |  |  |  |  |
| Allowable Exceptions This SOP is meant to be followed without deviation. However, it is an allowable exception to follow procedures specified in a protocol or Study Specific Procedure Manual (SSP) that may deviate from this SOP. |  |  |  |  |  |  |
| Procedures - Power Failure - Clinical Facilities - For power outages occurring during work hours: - Clinic visits can continue if they are being carried out in a space with sufficient lighting and the participant’s safety is not compromised. - Clinic visits are cancelled and rescheduled if the power outage is severe. - [insert title of appropriate staff member] verifies the status of critical equipment. - If the power failure occurs during off hours: - [insert title of appropriate staff member] makes a general round to assess the functioning of the emergency power supply and checks specific alarms located throughout the clinic. - If temperature logs show a deviation from acceptable levels, [insert appropriate plan of action or reference the plan]. - Laboratory (Remove this section if the information is documented in the Laboratory SOPs) - The power source for laboratory equipment is backed-up [describe backup power]. - If the power failure occurs during off hours, [insert title of appropriate staff member] makes a general round to assess the functioning of the emergency power supply and checks specific alarms located throughout the laboratory. - If the power outage occurs during working hours, [insert title of appropriate staff member] verifies the status of critical equipment. - If temperature logs show a deviation from acceptable levels, [insert appropriate plan of action or reference the plan]. - Pharmacy (Remove this section if the information is documented in the Pharmacy Plan or SOPs) - The power source for pharmacy equipment is backed-up [describe backup power and all equipment connected to it]. - If the power failure occurs during off hours, [insert title of appropriate staff member] makes a general round to assess the functioning of the emergency power supply. - If the power outage occurs during working hours, [insert title of appropriate staff member] verifies the status of critical equipment. - If there is a temperature deviation from acceptable levels, [insert appropriate plan of action or reference the CRS's Pharmacy Plan]. - Natural Disasters [remove if not applicable] - [insert type of natural disaster] - [insert description of natural disaster, including likely time of year, if applicable] - If a [insert type of natural disaster] occurs, [insert title of appropriate staff member] assesses the status of the freezers and other critical equipment as noted in Sections A.2. and A.3. - Reporting - Documentation - A log is maintained for all power outages. - Incident reports are generated for all significant power failures and natural disasters that interrupt clinic operations for more than one day, and/or impact the integrity of products or specimens. These reports are kept on file in the [insert location], including any associated correspondence. Documentation is not required when power is restored or back-up power is established such that there is no impact on clinic, product and specimens. - [insert title of person responsible] notifies the study Sponsor, Laboratory Center, SDMC, Leadership Operations Center, and Pharmaceutical Affairs Branch (PAB) by telephone, email or fax should there be an emerging [insert type of natural disaster] or a significant power failure. - As soon as clinic activities are resumed, [insert title of person responsible]updates the study sponsor, Laboratory Center, SDMC, Leadership Operations Center, and PAB with any significant outcomes or occurrences. |  |  |  |  |  |  |
| Training - Each staff member receives or has direct access to applicable Standard Operating Procedures (SOPs). - Each staff member reviews the applicable SOPs [Insert frequency of review]. - All SOP training is documented and tracked [Insert where the documentation is kept]. - New staff is trained on applicable SOPs within [Insert #] days of employment. - Staff members whose duties fall within this SOP scope are retrained within [Insert #] days of the approval of each SOP revision. |  |  |  |  |  |  |